CITY OF IRVINE

STANDARD SECURITY CODE PLAN REQUIREMENTS AND DEFINITIONS

The design professional of record shall complete, as applicable to the project, each of the following:

- Standard Residential Security Code Provisions

- Standard Recreational Spaces Security Code Provisions

- Standard Non-Residential Security Code Provisions

- Standard Parking Facility Security Code Provisions

This document in its entirety, along with each applicable standard shall be incorporated into the plans submitted for approval prior to permit issuance.

DEFINITIONS [Ref. IMC Sec. 5-9-503]

Alley is any roadway not exceeding 25 feet in width which is primarily used for access to the rear or side entrances of abutting property.

Approved means certified as meeting the requirements of this code by the enforcing authority or its authorized agents, or by other officials designated by law to give approval on a particular matter dealt with by the provisions of this code with regard to a given material, mode of construction, piece of equipment or device.

Astragal is a device, either fixed or movable, which eliminates the vertical opening between a pair of doors when in the closed position.

Bolt is a metal bar which, when actuated, is projected (or thrown) either horizontally or vertically into a retaining member, such as a strike plate, to prevent a door or window from moving or opening.

Bolt projection or bolt thrown is the distance from the edge of the door, at the bolt center line, to the farthest point on the bolt in the projected position.

Burglary resistant glazing means those materials as defined in Underwriters' Laboratories Bulletin 972.

Common area is an area of space, a building or portion of a building, which is legally accessible to the owners or users of a multi-tenant property.

Cylinder means the subassembly of a lock containing the cylinder core, tumbler mechanism and the keyway. A double cylinder lock is one, which has a key-actuated cylinder on both the exterior and interior of the door.

Cylinder guard means a tapered or flush metal ring or plate surrounding the otherwise exposed portion of a cylinder lock to resist cutting, drilling, prying, pulling or wrenching with common tools.

Deadbolt is a lock bolt which does not have a spring action. The bolt must be actuated by a key and a knob or thumb-turn, and when projected becomes locked against return by end pressure.

Dead latch or deadlocking latch bolt means a spring-actuated latch bolt having a beveled end and incorporating a plunger which, when depressed, automatically locks the projected latch bolt against return by end pressure.

Double cylinder deadbolt means a deadbolt lock which can be activated only by a key on both the interior and exterior.

Dwelling means a building or portion thereof designed exclusively for residential occupancy, including single-family and multiple-family dwellings.

Enforcing authority is the agency or person having the responsibility for enforcing the provisions of this code.

Flushbolt is a manual, key or turn-operated metal bolt normally used on inactive door(s), and is attached to the top and bottom of the door and engages in the head and threshold of the frame.

Fully tempered glass means those materials meeting or exceeding UCB Standard 24-2 for Safety Glazing.

Glazing is all glass, plastics, and fiberglass utilized as an exterior window, vision panel, light, or pane within any type of door.

Hours of operation shall mean the time period when any activity requires the presence of employees or workers within or about the affected business.

Hours of darkness shall mean any time from one-half hour before sunset and one-half hour after sunrise and any other time when the illumination level is less than the required lighting for uses as designated in this chapter.

Jamb means the vertical members of a door frame to which the door is secured.

Jamb/wall is that component of a door assembly to which a door is attached and secured; the wall and jamb used together are considered a unit.

Latch or latch bolt is a beveled, spring-actuated bolt, which may or may not have a deadlocking device.

Lock (or lockset) is a keyed device (complete with cylinder, latch or deadbolt mechanism, and trim such as knobs, levers, thumb turns, escutcheons, etc) for securing a door in a closed position against forced entry. For the purposes of this code, a lock does not include the strike plate.

Locking device is a part of a window assembly, which is intended to prevent movement of the moveable sash, which may be the sash lock or sash operator.

Luminaire is a complete lighting device consisting of a light source together with its direct appurtenances, such as globe, reflector refractor, housing and such support as is integral with the housing. The pole, post or bracket is not considered a part of the luminaire.

Minimum maintained foot-candles of light is the amount of light falling on that point of a surface with the least illumination, calculated through application of a maintenance factor, which is a multiplier applied to account for aging of the lamp and for dirt build-up on the luminaire during the period for which a lamp is in place.

Multiple-family dwelling means a building or portion thereof designed for occupancy by two or more families living independently of each other, including hotels, motels, apartments, duplexes and townhouses.

Nonresidential means any building, parking lot and associated areas used for any purpose other than a dwelling.

Panic hardware means a latching device on a door assembly for use when emergency egress is required due to fire or other threat to life safety. Devices designed so that they will facilitate the safe egress of people in case of an emergency when a pressure not to exceed 15 pounds is applied to the releasing device in the direction of exit travel. Such releasing devices are bars or panels extending not less than one-half of the width of the door and placed at heights suitable for the service require, not less than 30 nor more than 44 inches above the floor.

Primary locking device means the single locking system on a door or window unit whose primary function is to prevent unauthorized intrusion.

Private or single-family dwelling means a building designed exclusively for occupancy by one family.

Rail means the horizontal member of a window or door. A meeting rail is one which mates with a rail of another sash or a framing member of the door or window frame when the sash is in the closed position.

Recreational space means any public or private park, community common open space or paseo, bike trail, community swimming pools and associated sidewalks and parking lots.

Sash is an assembly of stiles, rails, and sometimes, mullions assembled into a single frame, which supports the glazing material. A fixed sash is one which is not intended to be opened. A moveable sash is intended to be opened.

Sill is the lowest horizontal member of a window frame.

Single cylinder deadbolt means a deadbolt lock, which is activated from the outside by a key and from the inside by a knob, thumb-turn, lever, or similar mechanism.

Solid core door means a door composed of solid wood or composed of compressed wood equal in strength to solid wood construction.

Stile is a vertical framing member of a window or door.

Strike is a metal plate attached to or mortised into a door or door jamb to receive and to hold a projected latch bolt and deadbolt in order to secure the door to the jamb.

Swinging door means a door hinged at the stile or at the head and threshold.

Underwriters' Laboratories listed means tested and listed by Underwriters' Laboratory, Inc.

Vandal resistant light fixture has a lens constructed of materials meeting or exceeding U.L. Bulletin 972 (Burglary Resistant Glazing) and a housing meeting or exceeding U.L. Bulletin 1572 (Wet Locations.)

Window assembly is a unit, which includes a window and the anchorage between the window and the wall.

Window frame is the part of a window, which surrounds and supports the sashes and is attached to the surrounding wall. The members include side jambs (vertical), head jamb (upper, horizontal), sill and mullions.