CITY OF IRVINE STANDARD NOTES

NON-RESIDENTIAL CONSTRUCTION

2010 CALIFORNIA GREEN BUILDING STANDARD (2.1)

Applies to Newly Constructed Non-residential Buildings and any subsequent initial tenant improvements for which permit application is made on or after January 1, 2011- the following standard notes shall be completed and incorporated into the approved plans and all effected design features and specifications shall be made to conform.

(Instructions: Designer to place an X preceding each applicable section and complete the notes or indicate N/A if not applicable. Building plan check shall be responsible for verification except for those items preceded by a [P] which will be verified by Planning.)

PARKING AND CHANGING ROOMS (CGBSC 5.106.4)

Check the appropriate box and provide complete input for each selection as applicable:

[P] Short-term bicycle parking (bicycle racks) are provided to accommodate anticipated visitor traffic. The total number provided is:      . These racks are located within 200 feet of the visitor’s entrance as depicted on plan sheet:      .

This project will accommodate over 10 tenant-occupants, therefore long term bicycle parking is provided. The total number provided equal to 5% of the required parking is:      . The method(s) selected to satisfy this requirement is (are):

Covered, lockable enclosures with permanently anchored racks for bicycles, the total number provided is:      , see plan sheet:      .

Lockable bicycle rooms with permanently anchored	racks, the total number provided is:      , see plan sheet:      .

Lockable, permanently anchored bicycle lockers, the total number provided is:      , see plan sheet:      .

DESIGNATED PARKING FOR “CLEAN AIR VEHICLES (CGBSC 5.106.5.2)

Per Table 5.106.5.2, a total of       Clean Air Vehicle parking spaces are provided. Spaces shall be permanently identified in 12 inch high lettering that says “CLEAN AIR VEHICLES”. Such lettering shall align with the end of the stall striping so as to be visible when a vehicle is parked in the stall. See plan sheet       defining designated stalls and lettering details.

LIGHT POLLUTION REDUCTION (CGBSC 5.106.8)

[P] Outdoor lighting designed to comply with the City of Irvine Security Code and section 3-16-1 of the City of Irvine Zoning Code which requires all direct rays to be confined to the site and that adjacent properties are protected from glare are depicted on plan sheet        along with photometrics.

WATER EFFICIENCY AND CONSERVATION (CGBSC 5.3)

Separate Meters or metering devices

This project consists of a single tenant building with a dedicated meter.

A separate meter or metering device is provided for the following spaces:      .

See plan sheet       for details and specifications defining metering design.

Separate meters or metering devices are not provided.

Notes: (1) A single tenant building without a dedicated meter must be shown to use less than 1000 gals/day via worksheet WS-1 found in chapter 8 of the CGBSC and any necessary addendum worksheet to reflect process water or other uses not represented on the worksheet. (2) For buildings having a total floor area greater than 50,000 square feet, all its spaces not having a separate meter must be shown to have a projected consumption of less than 100 gals/day via worksheet WS-1 found in chapter 8 of the CGBSC and any necessary addendum worksheet to reflect process water or other uses not represented on the worksheet.

INDOOR WATER USE(CGBSC 5.303)

Indoor water use shall be reduced by 20 percent using one of the following methods:

Water saving fixtures shall be used meeting the flow rate of the “20% Reduction” column specified in Table 5.303.2.3, see below, unless item 2 below is selected and an approved alternate fixture table is included in the plans and cross-referenced from these notes.

A 20 percent reduction in baseline water use shall be demonstrated via approved calculations pursuant to CGBSC section 5.303.2 item 2. For alternate fixture table, see plan sheet:      .

TABLE 5.303.2.3 (modified)

FIXTURE FLOW RATES

| FIXTURE TYPE | FLOW RATE | MAXIMUM FLOW RATE AT 20% REDUCTION |
| --- | --- | --- |
| Showerheads | 2.5 gpm @ 80 psi | 2 gpm @ 80 psi |
| Lavatory faucets | 0.5 gpm @ 60 psi | 0.4 gpm @ 60 psi |
| Kitchen faucets | 2.2 gpm @ 60 psi | 1.8 gpm @ 60 psi |
| Wash fountain | 2.2[rim space (in.)/20 gpm @60 psi] | 1.8[rim space (in.)/20 gpm @60 psi] |
| Metering faucet | 0.2 gallons/cycle | 0.2 gallons/cycle |
| Metering faucet for wash fountains | 0.25[rim space (in.)/20 gpm @60 psi] | 0.2[rim space (in.)/20 gpm @60 psi] |
| Water Closets | 1.6 gallons/flush | 1.28 gallons/flush* |
| Urinal | 1.0 gallons/flush | 0.5 gallons/flush |

* Includes single and dual flush water closets with an effective flush rate of 1.28 gallons or less:

Single flush toilets—The effective flush volume shall not exceed 1.28 gallons (4.8 liters). The effective flush volume is the average flush volume when tested in	accordance with ASME A 112.19.233.2.

Dual flush toilets—The effective flush volume shall not exceed 1.28 gallons (4.8 liters). The effective flush volume is defined as the composite, average flush volume of two reduced flushes and one full flush. Flush volumes will be tested in accordance with ASME A 112.19.2 and ASME A 112.19.14.

Note: The combined flow of multiple showerheads serving a single shower shall not exceed maximum allowable flow rate for a single fixture shower or the control valves shall be arranged to only allow one shower head to operate at a time.

OUTDOOR WATER USE (CGBSC 5.304)

Landscape and irrigation design shall comply with the City of Irvine Municipal Code Chapter 7 of Title 5, Sustainability In Landscaping.

WATER RESISTANCE AND MOISTURE MANAGEMENT (CGBSC 5.407)

ENTRIES AND OPENINGS To prevent water intrusion into exterior entries and/or openings subject to foot traffic or wind-driven rain, the following features have been incorporated into the design:

Overhangs and/or recesses, see plan sheet:      .

Flashings integrated with a drainage plane, see plan sheet:      .

Nonabsorbent floor and wall finishes within at least two feet around and perpendicular to such openings, see plan sheet:      .

MATERIAL CONSERVATION AND RESOURCE EFFICIENCY- CONSTRUCTION WASTE REDUCTION, DISPOSAL AND RECYCLING (CGBSC 5.408)

Recycling of materials shall conform to the Construction and Demolition Materials Recycling Requirements of the City of Irvine Municipal Code, sections 6-7-901 through 6-7-912.

BUILDING MAINTENANCE AND OPERATION (CGBSC 5.410)

RECYCLING BY OCCUPANTS

[P] Designated recycling areas shall be provided as required by sections 3-23-1 through 3-23-4 of the City of Irvine Zoning Code. See plan sheet      .

COMMISSIONING For buildings greater than 10,000 square feet, building commissioning.

Design

Using the templates available through the California Building Commission available in “Part 4 Suggested Forms and Templates” of the  Guide to the Nonresidential CalGreen Code at:  www.bsc.ca.gov/Home/CALGreen.aspx, the following documents are complete and included in the plans as follows:

- Completed and signed Owner’s Project Requirements (OPR), see sheet      .

- Completed and signed Basis of Design (BOD), see sheet      .

- Commissioning Plan, including a completed and signed “Commissioning Plan” form and complete coverage of each of the elements 1-9 as specified therein. Functional performance testing shall utilize templates available at the above referenced website, see sheet      .

Construction-Prior to Final Inspection Approval

- A completed Commissioning Report shall be provided to the City Inspector prior to final inspection approval. Contents, pursuant to section 5.410.2.6, shall include a description of the commissioning process activities undertaken through the design, construction and reporting recommendations for post construction phases. In addition all required functional performance testing reports shall be included.

- A completed Systems Manual shall be made available for review by the City Inspector prior to final inspection approval. Contents shall include a completed and signed “System Manual” form from the above referenced website and complete coverage of each of the elements 1-7 as specified therein.

Note: Approved equals may be substituted for the forms specified herein which may include acceptance forms required under the California Building Energy Efficiency Standards.

TESTING AND ADJUSTING.  For buildings not exceeding 10,000 square feet, testing and adjusting are required.

Design

See sheet       for procedures for testing and adjusting systems, which includes:

- HVAC systems and controls.

- HVAC balancing per the Testing Adjusting and Balancing Bureau National Standards; the National Environmental Balancing Bureau Procedural Standards; or Associated Air Balance Council National Standards or approved equal.

- Indoor and outdoor lighting and controls.

- Water heating systems.

- Renewable energy systems.

- Landscape irrigation systems.

- Water reuse systems.

Functional performance testing report scope and content shall be consistent with CALGreen Compliance Form “Functional Performance Testing” available in the Guide to Nonresidential Commissioning at www.bsc.ca.gov/Home/CALGreen.aspx, or approved equals and may incorporate acceptance forms required under the California Building Energy Efficiency Standards. For itemized list of functional tests required see sheet      .

Construction-Prior to Final Inspection Approval

Completed testing, adjusting, and balancing reports shall be provided to the City Inspector prior to final inspection approval. Contents shall match those specified in the procedures section above and be signed by the responsible parties.

ENVIRONMENTAL QUALITY

FIREPLACES Wood burning devices including fireplaces are not permitted under SQAQMD Rule 445. Any installed gas fireplace shall be a direct-vent sealed-combustion type. (CGBSC 5.503)

MECHANICAL EQUIPMENT AND DUCT PROTECTION To reduce the amount of dust and debris collected in mechanical equipment and ducts, all duct openings and other related air distribution equipment component openings shall be covered from the time of delivery at the jobsite through the construction until final start up. (CGBSC 5.504.3)

FINISH MATERIAL POLLUTANT CONTROL

- Adhesives, sealants and caulks shall meet the applicable standards of CGBSC 5.504.4.1 and tables 5.504.4.1 and 5.504.4.2 for VOC limits and content prohibitions.

- Paints and coatings shall meet the applicable standards of CGBSC 504.4.3 and table 5.504.4.3 for VOC limits.

- Aerosol paints and coatings shall meet the applicable standards of CGBSC 5.504.4.3.1.

Carpet systems shall meet the applicable standards of CGBSC 5.504.4.4 including CGBSC 5.504.4.4.1 for carpet cushions and CGBSC 5.504.4.4.2 for carpet adhesives.

Resilient flooring shall meet the applicable standards of CGBSC 5.504.4.6.

Composite wood products shall meet the applicable standards of CGBSC 5.504.4.5 and table 5.504.4.5.

Environmental Tobacco Smoke Control (5.504.5.3)

See plan sheet       for designated outdoor smoking area which shows a minimum of 25 feet from building entries, outdoor ventilation intakes and operable windows.

Ventilation filtration- Outside and return air shall pass through filtration media having a rating of MERV 8 or better, see plan sheet       for specification (CGBSC 5.504.5.3).

ENVIRONMENTAL COMFORT (CGBSC 5.507)

Exterior Noise [Note for zone boundaries refer to Sound Transmission Class (STC) Map  Sound Transmission Class (STC) Map @ www.cityofirvine.org in the form catalog]

1. A portion or the entire building is within 1,000 feet of freeway right-of-way therefore the specified exterior wall assemblies and roof or roof-ceiling assemblies have a sound transmission coefficient of 50 or more and the specified window assemblies have a sound transmission coefficient of 30 or more. For details and specifications see plan sheets      .

2. A portion or the entire building is within the 65 CNEL contour for John Wayne Airport therefore the specified exterior wall assemblies and roof or roof-ceiling assemblies have a sound transmission coefficient of 50 or more and the specified window assemblies have a sound transmission coefficient of 30 or more. For details and specifications see plan sheets      .

3. The project site fronts a street indentified as producing 65 CNEL contours extending beyond the right of way therefore the specified exterior wall assemblies and roof or roof-ceiling assemblies have a sound transmission coefficient of 50 or more and the specified window assemblies have a sound transmission coefficient of 30 or more. For details and specifications see plan sheets      .

This building is a factory, storage facility, utility building, enclosed parking structure or stadium therefore no STC assemblies are required.

A noise study has been approved by the City that demonstrates a CNEL below 65 therefore no STC assembles are required. (Note: This may only be accepted to relieve the requirement for item 3 above.)

Interior Sound

Wall and floor-ceiling assemblies separating tenant spaces and tenant spaces and public places shall have an STC of at least 40. Note: Examples of assemblies and their various STC ratings may be found in the catalog of STC and ICC Ratings for Wall and Floor/Ceiling Assemblies. For details and specifications see plan sheets      .

No interior walls separate tenant spaces or occupant spaces and public areas.

Note: Sound transmission control (STC) ratings shall be in accordance with ASTM E 90 and ASTM E 413.